## Sheet1
SNO | DESCRIPTION | QTY | UNIT | Rate (Rs.) | Amount (Rs.) | RATE | _sheet_name | SUGGESTED_RATE | CONFIDENCE | EXPLANATION | SOURCES | WORK_CATEGORY | SEARCH_KEYWORDS | MARKET_SOURCE | MARKET_RATE | GAP_PCT | GAP_VERDICT
1 | CIVIL & INTERIOR FINISHING WORKS | [5 empty] | BOQ - Test Project
1.1 | Providing and laying Brick Work 4.5" Thick consisting of First Class approved bricks in cement mortar ratio 1:5 (Bestway Cement with Ravi sand) including cutting, wastage, hardware, labor, Steel Tie Bars, Scaffolding, Material Shifting, Freight & Cartage etc. Complete in all respects as per instruction of Architect. | 250 | Sft |  |  |  | BOQ - Test Project | 450 | low | The suggested rate of Rs.450 per sft is based on current market rates from recent civil works projects (Civil.xlsx, ID Works, CIVIL WORKS.xlsx), reflecting a 40.6% increase from the historical average | 1.Civil.xlsx, ID Works (G.F).xlsx, 1. CIVIL WORKS.xlsx | civil_id | brick work 4.5 inch cement mortar | ACCO Construction Services | 450 | 40.62 | MAJOR_GAP
1.2 | Providing and applying 12mm thick cement sand plaster on walls & columns up to any height using Bestway Cement and clean local sand, including surface preparation, wetting of masonry, smooth sponge finish, curing, scaffolding, wastage, all arrangements etc. Complete in all respects as per directions of Architect. | 800 | Sft |  |  |  | BOQ - Test Project | 253 | medium | The suggested rate of Rs.253 per sft for 12mm cement plaster is based on historical average from 5 previous tenders, as current market rates are unavailable. This rate includes Bestway Cement, sand, s |  | finishing | cement sand plaster walls columns |  |  | 0 | NO_MARKET_DATA
1.3 | Providing and Installing 12mm thick Gypsum Board False Ceiling water resistant (Elephant / Equivalent Brand) with aluminium T-grid and GI suspension system hung with MS rods including provision of light holes, AC holes, drop panels, access panels, complete as per design and directions of Consultant. | 1200 | Sft |  |  |  | BOQ - Test Project | 500 | low | The suggested rate of Rs.500 per sft is based on current market rates from Apna DHA, showing a significant 36.5% decrease from the historical average of Rs.787 per sft across 13 tenders. However, conf | Apna DHA | ceiling | gypsum board false ceiling water resistant | Apna DHA | 500 | 36.46 | MAJOR_GAP
1.4 | Providing and fixing Porcelain Floor Tile 600x600mm anti-skid, approved brand (Shabbir Tiles / Master Tiles or equivalent) including tile bond adhesive (Bostik / Mapei), approved grout, spacers, cutting, curing, cleaning, wastage, all accessories complete in all respects as per Architect directions. | 500 | Sft |  |  |  | BOQ - Test Project | 65 | low | The suggested rate of Rs.65 per sft is based on current market pricing from Foshan Hanse Industrial Co., Ltd. (Made-in-China), as no historical tender data is available for this specification. This ra | Foshan Hanse Industrial Co., Ltd. (Made-in-China) | flooring | porcelain floor tile 600x600 anti-skid | Foshan Hanse Industrial Co., Ltd. (Made-in-China) | 65 | 100 | MAJOR_GAP
1.5 | Providing and Fixing of Marble on already laid CC rough floor including dry bond (STILE / Approved Equivalent), approved cemented grout, spacers in required size, cutting, curing, cleaning, hacking of existing surface for bonding where necessary, wastage, all fixing accessories. (Base Rate of Marble @ 1200/- per Sft) | 350 | Sft |  |  |  | BOQ - Test Project | 110 | low | The suggested rate of Rs.110 per sft covers material costs (marble base @ Rs.1200/sft as specified), dry bond adhesive (STILE or equivalent), grouting, spacers, labor for fixing, cutting, curing, and | ABS Developers | flooring | marble flooring fixing installation | ABS Developers | 110 | 100 | MAJOR_GAP
1.6 | Providing and applying two coats of acrylic emulsion paint (Dulux / Berger / Master equivalent) on plastered walls after proper wall putty and primer application including scaffolding, surface preparation, wastage complete in all respects. | 1500 | Sft |  |  |  | BOQ - Test Project | 120 | low | The suggested rate of Rs.120 per sft is based solely on market data from Avenir Developments, as no historical tender data is available for comparison. This rate includes premium acrylic emulsion pain | Avenir Developments | finishing | acrylic emulsion paint plastered walls | Avenir Developments | 120 | 100 | MAJOR_GAP
1.7 | Dismantling of Existing Brick Wall including breaking, removing debris from site, shifting to designated dumping area, labor, tools, equipment complete in all respects. | 150 | Sft |  |  |  | BOQ - Test Project | 50 | medium | The suggested rate of Rs.50 per sft is based on historical data from 3 previous tenders (ID Works G.F and F.F), showing a consistent average of Rs.50/sft for brick wall dismantling with debris removal | ID Works (G.F).xlsx, ID Works (F.F).xlsx | civil_id | dismantling brick wall debris removal |  |  | 0 | NO_MARKET_DATA
2 | HVAC WORKS | [5 empty] | BOQ - Test Project | 51000 | medium | The suggested rate of Rs. 51,000 per lump sum is based on historical data from 3 previous tenders (sources: HVAC WORKS.xlsx, HVAC WORKS (2).xlsx), as no current market rates are available. Medium conf | HVAC WORKS (2).xlsx, HVAC WORKS.xlsx | hvac | HVAC works installation |  |  | 0 | NO_MARKET_DATA
2.1 | Supply and Installation of Split Air Conditioner, Nominal Cooling Capacity 4.0 TR, Inverter type, approved brand (Gree / Haier / Dawlance), including copper piping with insulation, UPVC drain piping, electrical wiring from DB, testing and commissioning complete in all respects. | 6 | Nos |  |  |  | BOQ - Test Project | 17000 | high | The suggested rate of Rs.17,000 per unit for a 4.0 TR inverter split AC is based on historical tender data from three previous projects (HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, HVAC.xlsx) showing consis | HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, HVAC.xlsx | hvac | split AC 4 TR inverter installation | Quora - Pakistan AC Installation Discussion | 18000 | 5.88 | CONFIRMED
2.2 | Supply and Installation of Cassette Type Split AC 2.0 TR nominal cooling capacity, 4-way discharge, inverter compressor, approved brand including copper piping, insulation, drain piping, electrical wiring, remote control, testing commissioning complete. | 4 | Nos |  |  |  | BOQ - Test Project | 727498 | low | The suggested rate of Rs.727,498 per unit reflects current market pricing for cassette-type inverter AC units based on recent quotations from HVAC WORKS.xlsx and Mega.pk. However, the 4,179% gap from | HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, Mega.pk | hvac | cassette split AC 2 ton inverter | Mega.pk | 727498 | 4179.4 | MAJOR_GAP
2.3 | Providing and Fixing Copper Pipe with Armaflex insulation 13mm thick for refrigerant lines including all fittings, bends, tee connections, supports, clamps, complete in all respects. | 120 | Rft |  |  |  | BOQ - Test Project | 2100 | high | The suggested rate of Rs.2,100 per rft is based on consistent historical data from three previous tenders for copper refrigerant piping with 13mm Armaflex insulation, including all fittings and access | HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, Ubuy Pakistan | hvac | copper pipe armaflex insulation refrigerant | Ubuy Pakistan | 2395 | 14.05 | CONFIRMED
3 | ELECTRICAL & ELV WORKS | [5 empty] | BOQ - Test Project | 6000 | medium | The suggested rate of Rs.6,000 per lump sum is based on historical data from 3 previous tenders (sources: Electrical.xlsx, SHOP & AS BUILT.xlsx), averaging Rs.6,000/ls. However, no current market data | Electrical.xlsx, SHOP & AS BUILT.xlsx | electrical_elv | electrical ELV works |  |  | 0 | NO_MARKET_DATA
3.1 | Supply, Installation and Commissioning of Light Circuit Wiring from MCB in DB to Switch Board, wired with 3x2.5mm sq. PVC insulated 300/500V grade cable (Pakistan Cables / Fast Cables / Newage) in 25mm heavy duty PVC conduit with all accessories, pull boxes, steel pull wires complete in all respects. | 30 | Nos |  |  |  | BOQ - Test Project | 12500 | medium | The suggested rate of Rs.12,500 per point is based solely on historical data from 3 previous tenders (Circuit Wiring.xlsx), averaging Rs.12,500/point. Medium confidence reflects the absence of current | Circuit Wiring.xlsx | electrical_elv | light circuit wiring MCB switch |  |  | 0 | NO_MARKET_DATA
3.2 | Supply, Installation and Commissioning of 13A switched socket outlet (BS standard, MK / Crabtree / equivalent) with 3x4mm sq. PVC insulated cable from nearest DB, including back box recessed in wall, cover plate, complete in all respects. | 45 | Nos |  |  |  | BOQ - Test Project | 1500 | low | The suggested rate of Rs.1,500 per outlet is based on current market data from Electric BOQ.xlsx and ELECTRIC WORKS.xlsx, representing a 58.2% reduction from the historical average of Rs.3,585. This s | ELECTRIC WORKS.xlsx, Electric BOQ.xlsx, Search Summary Data | electrical_elv | 13A switched socket outlet installation | Search Summary Data | 1500 | 58.16 | MAJOR_GAP
3.3 | Supply, Installation, Testing and Commissioning of Full HD IP based POE CCTV Camera, Outdoor Day/Night type, minimum 4MP resolution, IR LED, vandal proof housing, IP-65 rated, with mounting bracket, RJ45 outlet, CAT-6 UTP cable wiring to NVR, complete in all respects. | 8 | Nos |  |  |  | BOQ - Test Project | 22500 | low | The suggested rate of Rs.22,500 per camera reflects current market pricing for 4MP IP POE outdoor cameras with vandal-proof housing and complete installation, as verified from CCTV.xlsx and Electric B | CCTV.xlsx, Electric BOQ.xlsx, Search Summary - Pakistan Market 2026 | electrical_elv | IP POE CCTV camera outdoor | Search Summary - Pakistan Market 2026 | 22500 | 542.86 | MAJOR_GAP
3.4 | Supply and Laying of 4mm sq. PVC insulated single core copper cable (Pakistan Cables / Newage) in pre-laid conduit from Main Panel to Sub Distribution Board, including all cable accessories, ferrules, termination complete in all respects. | 200 | Mtr |  |  |  | BOQ - Test Project | 31537 | low | The suggested rate of Rs.31,537/mtr reflects current market pricing from Pakistan Cables and recent BOQ data, showing a significant 2474% increase from the historical average of Rs.1,225/mtr due to su | Electric BOQ.xlsx, Cables & Conduits.xlsx, Pakistan Cables | electrical_elv | 4mm PVC copper cable laying | Pakistan Cables | 31537 | 2474.45 | MAJOR_GAP
4 | FIRE FIGHTING WORKS | [5 empty] | BOQ - Test Project | 155000 | low | The suggested rate of Rs.155,000 per lump sum is based solely on Adams Fire Tech market data, as no historical tender records exist for comparison. This represents a complete baseline establishment ra | Adams Fire Tech | plumbing | fire fighting system works | Adams Fire Tech | 155000 | 100 | MAJOR_GAP
4.1 | Supply, Installation, Testing and Commissioning of Single Loop Intelligent Addressable Fire Alarm Control Panel (FACP), expandable, with built-in power supply, NICAD battery backup, loop control module, addressable power supply, mounting chassis, complete in all respects as per specifications and drawings. | 1 | Nos |  |  |  | BOQ - Test Project | 187500 | low | The suggested rate of Rs.187,500 per panel is based on current market quotations from Adams Fire Tech and recent BOQ data (Electric BOQ.xlsx, ELECTRIC WORKS.xlsx), representing a significant 64.3% red | Electric BOQ.xlsx, ELECTRIC WORKS.xlsx, Adams Fire Tech | electrical_elv | addressable fire alarm control panel | Adams Fire Tech | 187500 | 64.29 | MAJOR_GAP
4.2 | Supply, Installation, Testing and Commissioning of Intelligent Addressable Optical Smoke Detector with base, address module, complete in all respects and connected to FACP. | 24 | Nos |  |  |  | BOQ - Test Project | 17750 | medium | The suggested rate of Rs.17,750 per unit represents a balanced midpoint between the historical tender rate of Rs.20,500 from previous projects (ELECTRIC WORKS.xlsx, Electric BOQ.xlsx) and the current | ELECTRIC WORKS.xlsx, Electric BOQ.xlsx, Career Development Office - Lahore College for Women University | electrical_elv | addressable optical smoke detector | Career Development Office - Lahore College for Women University | 15000 | 26.83 | MINOR_GAP
5 | PLUMBING WORKS | [5 empty] | BOQ - Test Project | 400000 | low | The suggested rate of Rs.400,000 per lump sum for plumbing works is based on market data from "Elegant DHA - 1 Kanal House Construction Cost Lahore" since no historical tender data is available. Howev | Elegant DHA - 1 Kanal House Construction Cost Lahore | plumbing | plumbing works general | Elegant DHA - 1 Kanal House Construction Cost Lahore | 400000 | 100 | MAJOR_GAP
5.1 | Providing and Fixing of UPVC Pipe (Popular E-Class) 32mm diameter for water supply including all fittings, elbows, tee, sockets, unions, clamps, supports, cutting, wastage, fixing labor, Material Shifting, Freight & Cartage complete in all respects. | 80 | Rft |  |  |  | BOQ - Test Project | 278 | medium | The suggested rate of Rs.278 per rft represents a balanced midpoint between historical tender pricing of Rs.310 per rft and current market rate of Rs.246 from NewTech Pipes Lahore. This 20.6% gap acco | NewTech Pipes Lahore | plumbing | UPVC pipe 32mm water supply | NewTech Pipes Lahore | 246 | 20.65 | MINOR_GAP
5.2 | Supply and Installation of European Water Closet (WC) with soft close seat cover, concealed cistern, push plate flush, approved brand (Porta / Roca / equivalent) including all necessary fittings, brackets, silicon sealing, complete installation. | 4 | Nos |  |  |  | BOQ - Test Project | 23807 | low | The suggested rate of Rs.23,807 per unit is based solely on the STZA Tender Notice for Infrastructure Development of Islamabad Technopolis, as no historical data exists for comparison. This market rat | STZA - Tender Notice for Infrastructure Development of Islamabad Technopolis | plumbing | european wall hung WC concealed cistern | STZA - Tender Notice for Infrastructure Development of Islamabad Technopolis | 23807 | 100 | MAJOR_GAP
6 | WOODWORK & SPECIAL WORKS | [5 empty] | BOQ - Test Project
6.1 | Providing and Installing Wall Cladding in 18mm thick MDF board with veneer finish (approved shade), mounted on MS frame 2x2 inch sections, including grooves, shadow gaps, edge profiles, complete in all respects as per Architect's design and approval. | 300 | Sft |  |  |  | BOQ - Test Project | 5500 | low | The suggested rate of Rs.5,500 per sft is based solely on market sources as no historical tender data exists for this specific 18mm MDF veneer wall cladding with MS frame system. This rate from "Const | Construction Cost Per Square Foot in Pakistan (2026 Updated Guide) | carpentry | MDF veneer wall cladding | Construction Cost Per Square Foot in Pakistan (2026 Updated Guide) | 5500 | 100 | MAJOR_GAP
6.2 | Providing and Applying Waterproofing Treatment using Pudlo / Dr. Fixit approved chemical mixed with cement plaster on all wet area walls up to 7ft height, including labor, material, surface preparation, wastage complete in all respects. | 200 | Sft |  |  |  | BOQ - Test Project | 150 | low | The suggested rate of Rs.150 per sft is based solely on market input from Sky Chemical Services, as no historical tender data is available for comparison. This rate covers waterproofing chemicals like | Sky Chemical Services | finishing | waterproofing treatment pudlo cement plaster | Sky Chemical Services | 150 | 100 | MAJOR_GAP
6.3 | Providing and Installing Aluminium Composite Panel (ACP) 4mm thick (Alucobond / Reynobond equivalent) on MS framework including fabrication, welding, anti-rust paint, fixing, joints, silicon sealant complete in all respects. | 180 | Sft |  |  |  | BOQ - Test Project | 255 | low | The suggested rate of Rs.255 per sft is based solely on Market Summary 2026 data, as no historical tender rates are available for comparison. This rate includes complete supply and installation of 4mm | Market Summary 2026 | finishing | aluminium composite panel ACP 4mm | Market Summary 2026 | 255 | 100 | MAJOR_GAP
Note: Yellow cells (RATE column) are empty — submit this file to POST /fill-boq endpoint to get rates filled by RateIQ agent. | [6 empty] | BOQ - Test Project