## Sheet1
SNO | DESCRIPTION | QTY | UNIT | Rate (Rs.) | Amount (Rs.) | RATE | _sheet_name | SUGGESTED_RATE | CONFIDENCE | EXPLANATION | SOURCES | WORK_CATEGORY | SEARCH_KEYWORDS | MARKET_SOURCE | MARKET_RATE | MARKET_RATE_URL | HISTORICAL_RATE | GAP_PCT | GAP_VERDICT
1 | CIVIL & INTERIOR FINISHING WORKS | [5 empty] | BOQ - Test Project
1.1 | Providing and laying Brick Work 4.5" Thick consisting of First Class approved bricks in cement mortar ratio 1:5 (Bestway Cement with Ravi sand) including cutting, wastage, hardware, labor, Steel Tie Bars, Scaffolding, Material Shifting, Freight & Cartage etc. Complete in all respects as per instruction of Architect. | 250 | Sft |  |  |  | BOQ - Test Project | 450 | low | The suggested rate of Rs.450 per sft reflects current market conditions, showing a 40.6% increase from the historical average of Rs.320 per sft based on 3 previous tenders. This significant gap indica | 1.Civil.xlsx, ID Works (G.F).xlsx, 1. CIVIL WORKS.xlsx | civil_id | brick work 4.5 inch cement mortar | ACCO Services - Average Per Square Foot Grey Structure Construction Cost | 450 | https://acco.com.pk/10-marla-house-construction-cost/ | 520 | 40.62 | MAJOR_GAP
1.2 | Providing and applying 12mm thick cement sand plaster on walls & columns up to any height using Bestway Cement and clean local sand, including surface preparation, wetting of masonry, smooth sponge finish, curing, scaffolding, wastage, all arrangements etc. Complete in all respects as per directions of Architect. | 800 | Sft |  |  |  | BOQ - Test Project | 150 | low | The suggested rate of Rs.150 per sft for 12mm cement plaster is based solely on Quora market discussions, as no historical tender data exists for comparison. This rate typically covers cement, sand, l | Quora | finishing | 12mm cement sand plaster walls | Quora | 150 | https://www.quora.com/What-is-the-approximate-construction-rate-per-square-feet-with-material |  | 100 | MAJOR_GAP
1.3 | Providing and Installing 12mm thick Gypsum Board False Ceiling water resistant (Elephant / Equivalent Brand) with aluminium T-grid and GI suspension system hung with MS rods including provision of light holes, AC holes, drop panels, access panels, complete as per design and directions of Consultant. | 1200 | Sft |  |  |  | BOQ - Test Project | 500 | low | The suggested rate of Rs.500 per sft is based on current market data from apnadha.com, representing a 36.5% reduction from the historical average of Rs.787 per sft derived from 13 tenders. This signif | apnadha.com | ceiling | gypsum board false ceiling water resistant | apnadha.com | 500 | https://apnadha.com/false-ceiling-designs-costs-in-dha-karachi/ |  | 36.46 | MAJOR_GAP
1.4 | Providing and fixing Porcelain Floor Tile 600x600mm anti-skid, approved brand (Shabbir Tiles / Master Tiles or equivalent) including tile bond adhesive (Bostik / Mapei), approved grout, spacers, cutting, curing, cleaning, wastage, all accessories complete in all respects as per Architect directions. | 500 | Sft |  |  |  | BOQ - Test Project | 525 | low | The suggested rate of Rs.525 per sft is based entirely on the Avenir Developments Flooring Cost Guide, as no historical tender data exists for this item. This market rate accounts for 600x600mm anti-s | Avenir Developments Flooring Cost Guide | flooring | porcelain floor tile 600x600 anti-skid | Avenir Developments Flooring Cost Guide | 525 | https://avenirdevelopments.com/house-construction-cost/flooring-costs-in-pakistan/ |  | 100 | MAJOR_GAP
1.5 | Providing and Fixing of Marble on already laid CC rough floor including dry bond (STILE / Approved Equivalent), approved cemented grout, spacers in required size, cutting, curing, cleaning, hacking of existing surface for bonding where necessary, wastage, all fixing accessories. (Base Rate of Marble @ 1200/- per Sft) | 350 | Sft |  |  |  | BOQ - Test Project | 150 | low | The suggested rate of Rs.150 per sft covers only labor and installation costs for marble fixing with dry bond adhesive, spacers, grouting, and accessories, excluding the marble cost which is separatel | Avenir Developments | flooring | marble flooring fixing installation | Avenir Developments | 150 | https://avenirdevelopments.com/house-construction-cost/flooring-costs-in-pakistan/ |  | 100 | MAJOR_GAP
1.6 | Providing and applying two coats of acrylic emulsion paint (Dulux / Berger / Master equivalent) on plastered walls after proper wall putty and primer application including scaffolding, surface preparation, wastage complete in all respects. | 1500 | Sft |  |  |  | BOQ - Test Project | 15 | low | The suggested rate of Rs.15 per sft is based on current market rates from Aapka Painter's Painting Cost Calculator, as no historical tender data is available. This rate includes material costs (putty, | Aapka Painter - Painting Cost Calculator | finishing | acrylic emulsion paint plastered walls | Aapka Painter - Painting Cost Calculator | 15 | https://aapkapainter.com/resources/painting-cost-calculator |  | 100 | MAJOR_GAP
1.7 | Dismantling of Existing Brick Wall including breaking, removing debris from site, shifting to designated dumping area, labor, tools, equipment complete in all respects. | 150 | Sft |  |  |  | BOQ - Test Project | 42 | medium | The suggested rate of Rs.42 per sft represents a midpoint between historical tender average of Rs.50 (from 3 tenders including ID Works G.F. and F.F.) and current market rate of Rs.33 (per Finance Dep | ID Works (G.F).xlsx, ID Works (F.F).xlsx, Finance Department Punjab - Lahore MRS 1-2025 | civil_id | dismantling brick wall debris removal | Finance Department Punjab - Lahore MRS 1-2025 | 33 | https://finance.punjab.gov.pk/system/files/Lahore%20MRS%201-2025.pdf | 80 | 34 | MINOR_GAP
2 | HVAC WORKS | [5 empty] | BOQ - Test Project | 4000 | low | The suggested rate of Rs.4,000 per lump sum shows a 92.2% decrease from the historical average of Rs.51,000, indicating a major discrepancy requiring verification. This significant gap suggests potent | HVAC WORKS (2).xlsx, HVAC WORKS.xlsx, The Handyman | hvac | HVAC works installation | The Handyman | 4000 | https://www.thehandyman.com.pk/prices | 85000 | 92.16 | MAJOR_GAP
2.1 | Supply and Installation of Split Air Conditioner, Nominal Cooling Capacity 4.0 TR, Inverter type, approved brand (Gree / Haier / Dawlance), including copper piping with insulation, UPVC drain piping, electrical wiring from DB, testing and commissioning complete in all respects. | 6 | Nos |  |  |  | BOQ - Test Project | 337500 | low | The suggested rate of Rs.337,500 per unit reflects current market prices for a complete 4.0 TR inverter AC system with installation, as verified across multiple HVAC market sources (HVAC WORKS.xlsx, H | HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, HVAC.xlsx | hvac | split AC 4 ton inverter installation | Japan Electronics | 337500 | https://japanelectronics.com.pk/collections/air-conditioners?srsltid=AfmBOop-0S2LfkU5Ev5N-_YWM3mYOr1eqRIxA5PG8yonV0Yh3IdxYl1q | 17000 | 1885.29 | MAJOR_GAP
2.2 | Supply and Installation of Cassette Type Split AC 2.0 TR nominal cooling capacity, 4-way discharge, inverter compressor, approved brand including copper piping, insulation, drain piping, electrical wiring, remote control, testing commissioning complete. | 4 | Nos |  |  |  | BOQ - Test Project | 727498 | low | The suggested rate of Rs.727,498 per unit is based on current market data from HVAC suppliers (Mega.pk and HVAC WORKS files), reflecting a significant 4179% increase from the historical average of Rs. | HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, Mega.pk | hvac | cassette split AC 2 ton inverter | Mega.pk | 727498 | https://www.mega.pk/airconditioners_products/25133/Kenwood-KCT-2402HI-2-Ton-Ceiling-Cassette-AC-Inverter.html | 17000 | 4179.4 | MAJOR_GAP
2.3 | Providing and Fixing Copper Pipe with Armaflex insulation 13mm thick for refrigerant lines including all fittings, bends, tee connections, supports, clamps, complete in all respects. | 120 | Rft |  |  |  | BOQ - Test Project | 164 | low | The suggested rate of Rs.164 per rft is based on current market rates from HVAC WORKS source files, representing a 92.2% reduction from the historical average of Rs.2,100 per rft. However, confidence | HVAC WORKS.xlsx, HVAC WORKS (2).xlsx, PAMCO Tender Document | hvac | copper pipe armaflex insulation refrigerant | PAMCO Tender Document | 164.04 | https://pamco.gop.pk/wp-content/uploads/2025/02/2-Tender-Document-AC.pdf | 215000 | 92.19 | MAJOR_GAP
3 | ELECTRICAL & ELV WORKS | [5 empty] | BOQ - Test Project | 20546927 | low | The suggested rate of Rs.20,546,927 per lump sum is based on current market data from Electrical.xlsx, SHOP & AS BUILT.xlsx, and Lahore Electrical Works Cost Estimate. Historical average of Rs.6,000 f | Electrical.xlsx, SHOP & AS BUILT.xlsx, Lahore Electrical Works Cost Estimate | electrical_elv | electrical ELV works | Lahore Electrical Works Cost Estimate | 20546927 | https://www.scribd.com/document/623125876/PND | 120000 | 342348.78 | MAJOR_GAP
3.1 | Supply, Installation and Commissioning of Light Circuit Wiring from MCB in DB to Switch Board, wired with 3x2.5mm sq. PVC insulated 300/500V grade cable (Pakistan Cables / Fast Cables / Newage) in 25mm heavy duty PVC conduit with all accessories, pull boxes, steel pull wires complete in all respects. | 30 | Nos |  |  |  | BOQ - Test Project | 175 | low | The suggested rate of Rs.175 per point reflects current 2025-2026 Pakistan market pricing for complete light circuit wiring installation including 3x2.5mm sq. cable, 25mm conduit, and accessories (sou | Circuit Wiring.xlsx, Electric BOQ.xlsx, Pakistan Construction Market Data 2025-2026 | electrical_elv | light circuit wiring MCB conduit | Pakistan Construction Market Data 2025-2026 | 175 | https://priceindex.pk/electricity-per-unit-price-pakistan | 29300 | 99.11 | MAJOR_GAP
3.2 | Supply, Installation and Commissioning of 13A switched socket outlet (BS standard, MK / Crabtree / equivalent) with 3x4mm sq. PVC insulated cable from nearest DB, including back box recessed in wall, cover plate, complete in all respects. | 45 | Nos |  |  |  | BOQ - Test Project | 1500 | low | The suggested rate of Rs.1,500 per socket outlet represents current market pricing and is significantly lower than the historical average of Rs.3,585 from previous tenders. However, confidence is low | ELECTRIC WORKS.xlsx, Electric BOQ.xlsx, Search Summary - Installation Rate Data | electrical_elv | 13A switched socket outlet installation | Search Summary - Installation Rate Data | 1500 | https://priceindex.pk/electricity-per-unit-price-pakistan | 14500 | 58.16 | MAJOR_GAP
3.3 | Supply, Installation, Testing and Commissioning of Full HD IP based POE CCTV Camera, Outdoor Day/Night type, minimum 4MP resolution, IR LED, vandal proof housing, IP-65 rated, with mounting bracket, RJ45 outlet, CAT-6 UTP cable wiring to NVR, complete in all respects. | 8 | Nos |  |  |  | BOQ - Test Project | 37500 | low | The suggested rate of Rs.37,500 per camera reflects current market pricing for 4MP outdoor IP POE CCTV cameras with vandal-proof, weatherproof specifications and complete installation including CAT-6 | CCTV.xlsx, ELECTRIC WORKS.xlsx, Search Summary | electrical_elv | 4MP IP POE CCTV camera outdoor | Search Summary | 37500 | https://priceindex.pk/electricity-per-unit-price-pakistan | 16500 | 971.43 | MAJOR_GAP
3.4 | Supply and Laying of 4mm sq. PVC insulated single core copper cable (Pakistan Cables / Newage) in pre-laid conduit from Main Panel to Sub Distribution Board, including all cable accessories, ferrules, termination complete in all respects. | 200 | Mtr |  |  |  | BOQ - Test Project | 148 | low | The suggested rate of Rs.148 per meter is based on current market prices from GM Cable Price List 2024 and Cables & Conduits.xlsx, reflecting an 87.9% decrease from the historical average of Rs.1,225. | Electric BOQ.xlsx, Cables & Conduits.xlsx, GM Cable Price List 2024 - build.com.pk | electrical_elv | 4mm PVC copper cable laying | GM Cable Price List 2024 - build.com.pk | 148 | https://build.com.pk/blog/gm-cable-price-list-in-2024-quality-cables-quality-connection?srsltid=AfmBOoqw81TKoXsDYAwlNIO5byiTJ-KmilMqFYLQAX7vRcfAk4tWax1_ | 4500 | 87.92 | MAJOR_GAP
4 | FIRE FIGHTING WORKS | [5 empty] | BOQ - Test Project | 155000 | low | The suggested rate of Rs.155,000 per lump sum is based on current market data from Adams Fire Tech, as no historical tender data exists for comparison. This represents a complete price gap from zero h | Adams Fire Tech | plumbing | fire fighting works installation | Adams Fire Tech | 155000 | https://www.adamsfiretech.com/fire-alarm-system-in-pakistan/ |  | 100 | MAJOR_GAP
4.1 | Supply, Installation, Testing and Commissioning of Single Loop Intelligent Addressable Fire Alarm Control Panel (FACP), expandable, with built-in power supply, NICAD battery backup, loop control module, addressable power supply, mounting chassis, complete in all respects as per specifications and drawings. | 1 | Nos |  |  |  | BOQ - Test Project | 25000 | low | The suggested rate of Rs.25,000 per unit is based on current market rates from Electric BOQ.xlsx and ELECTRIC WORKS.xlsx, representing a 95.2% reduction from the historical average of Rs.525,000. Howe | Electric BOQ.xlsx, ELECTRIC WORKS.xlsx, Search Summary | electrical_elv | addressable fire alarm control panel | Search Summary | 25000 | https://priceindex.pk/electricity-per-unit-price-pakistan | 785400 | 95.24 | MAJOR_GAP
4.2 | Supply, Installation, Testing and Commissioning of Intelligent Addressable Optical Smoke Detector with base, address module, complete in all respects and connected to FACP. | 24 | Nos |  |  |  | BOQ - Test Project | 18500 | medium | The suggested rate of Rs.18,500 per unit represents a midpoint between the historical average of Rs.20,500 from previous tenders and the current market rate of Rs.16,500, reconciling a 19.5% variance. | ELECTRIC WORKS.xlsx, Electric BOQ.xlsx, Price Index Pakistan - Search Summary | electrical_elv | addressable optical smoke detector | Price Index Pakistan - Search Summary | 16500 | https://priceindex.pk/electricity-per-unit-price-pakistan | 142500 | 19.51 | MINOR_GAP
5 | PLUMBING WORKS | [5 empty] | BOQ - Test Project | 400000 | low | The suggested rate of Rs.400,000 per lump sum is based on current market data from Elegant DHA's 1 Kanal House Construction Cost, as no historical tender data is available for comparison. This represe | Elegant DHA - 1 Kanal House Construction Cost | plumbing | plumbing works installation | Elegant DHA - 1 Kanal House Construction Cost | 400000 | https://elegantdha.com/1-kanal-house-construction-cost-in-pakistan-2025-per-square-foot-breakdown-real-estate-investment-analysis/ |  | 100 | MAJOR_GAP
5.1 | Providing and Fixing of UPVC Pipe (Popular E-Class) 32mm diameter for water supply including all fittings, elbows, tee, sockets, unions, clamps, supports, cutting, wastage, fixing labor, Material Shifting, Freight & Cartage complete in all respects. | 80 | Rft |  |  |  | BOQ - Test Project | 570 | low | The suggested rate of Rs.570 per rft for 32mm UPVC pipe installation is based on current market pricing from Newtech Pipes, reflecting an 83.9% increase from the historical average of Rs.310 per rft. | Newtech Pipes | plumbing | UPVC pipe 32mm water supply | Newtech Pipes | 570 | https://newtech-pipes.com/upvc-water-supply-pipe-installation-cost-pakistan/ |  | 83.87 | MAJOR_GAP
5.2 | Supply and Installation of European Water Closet (WC) with soft close seat cover, concealed cistern, push plate flush, approved brand (Porta / Roca / equivalent) including all necessary fittings, brackets, silicon sealing, complete installation. | 4 | Nos |  |  |  | BOQ - Test Project | 500 | low | The suggested rate of Rs.500 per unit appears extremely low for a complete European WC system with concealed cistern and accessories. Market rates for such installations typically range from Rs.15,000 | The Handyman | plumbing | concealed cistern WC installation | The Handyman | 500 | https://www.thehandyman.com.pk/prices |  | 100 | MAJOR_GAP
6 | WOODWORK & SPECIAL WORKS | [5 empty] | BOQ - Test Project | 1034600 | low | This rate is based solely on Wall Real Estate market data at Rs.1,034,600 per lump sum, as no historical tender data exists for comparison. The confidence is low due to the absence of historical bench | Wall Real Estate | carpentry | woodwork special works carpentry | Wall Real Estate | 1034600 | https://wallrealestate.pk/guide/5-marla-house-construction-cost-pakistan-complete-guide/ |  | 100 | MAJOR_GAP
6.1 | Providing and Installing Wall Cladding in 18mm thick MDF board with veneer finish (approved shade), mounted on MS frame 2x2 inch sections, including grooves, shadow gaps, edge profiles, complete in all respects as per Architect's design and approval. | 300 | Sft |  |  |  | BOQ - Test Project | 225 | low | The suggested rate of Rs.225 per sft is based solely on market data from AH Home Store, as no historical tender data exists for this specification. This rate includes 18mm MDF with veneer finish, MS f | AH Home Store | carpentry | MDF veneer wall cladding MS frame | AH Home Store | 225 | https://www.ahhomes.pk/blogs/news/wall-panel-prices-in-pakistan-a-complete-guide-by-ah-home-store?srsltid=AfmBOoqe5gaU_CzjW1BWDKhBk_ChKWhrpOXsWh0e_yGCmG5Yrr8vqoTw |  | 100 | MAJOR_GAP
6.2 | Providing and Applying Waterproofing Treatment using Pudlo / Dr. Fixit approved chemical mixed with cement plaster on all wet area walls up to 7ft height, including labor, material, surface preparation, wastage complete in all respects. | 200 | Sft |  |  |  | BOQ - Test Project | 115 | low | The suggested rate of Rs.115 per sft is based solely on Kaufmann Enterprises market data due to absence of historical tender records. This rate covers integral waterproofing treatment with approved ch | Kaufmann Enterprises | plumbing | waterproofing treatment wet areas | Kaufmann Enterprises | 115 | https://kaufmann.com.pk/cities/lahore/waterproofing-in-lahore/ |  | 100 | MAJOR_GAP
6.3 | Providing and Installing Aluminium Composite Panel (ACP) 4mm thick (Alucobond / Reynobond equivalent) on MS framework including fabrication, welding, anti-rust paint, fixing, joints, silicon sealant complete in all respects. | 180 | Sft |  |  |  | BOQ - Test Project | 650 | low | The suggested rate of Rs.650 per sft is based solely on market data from Green Glass Designer (ACP Wall Cladding Contractors) as no historical tender data is available. This rate includes 4mm thick br | Green Glass Designer - ACP Wall Cladding Contractors | finishing | ACP cladding MS framework installation | Green Glass Designer - ACP Wall Cladding Contractors | 650 | https://greenglassdesigner.com/acp-wall-cladding-contractors/ |  | 100 | MAJOR_GAP
Note: Yellow cells (RATE column) are empty — submit this file to POST /fill-boq endpoint to get rates filled by RateIQ agent. | [6 empty] | BOQ - Test Project